Correcting high resolution stable isotope tracing data for natural abundance using El Maven and IsoCorrectoR

http://bioconductor.org/packages/devel/bioc/vignettes/IsoCorrectoR/inst/doc/IsoCorrectoR.html

The first step is to integrate the data in El Maven, and export a .csv file of your labeled metabolites (export your bookmark table).

Create a “Measurement File”:

- Row 1 Column A must say “Measurements/samples”.

- Your row headings should be your sample names, make sure each one is unique.

- Text in Column A specifies the metabolite and it’s MID in the form of “meatbolitename_element(MID)”, so for example, 13C tracing in glucose would look like this: glucose_0, glucose_1, glucose_2, glucose_3, glucose_4 etc, where “0” is the unlabeled, and 1 is 13C1, 2 is 13C2 etc. The numbering system would be the same for N15 as well.

- In the case of both 13C and 15N tracers (referred to by the package as “high resolution data”), the second MID should be separated by a period. In the case of glutamine, this would look like this: glutamine_C0.N0, glutamine_C0.N1, glutamine_C1.N0, glutamine_C1.N1 etc…..

- Replace any “0” values with “ ” (leave blank) (See full instructions for detailed explanation on the differences between correcting on 0s and blank values).

- Save file as .csv

Create a “Molecule File”:

You will need to do this the first time, but each subsequent time you can use the existing molecule file, provided all the molecules that are present in your measurement file are in your molecule file. Be sure to update your molecule file with new metabolites!

- Column A header: “Molecule”

- Column B header: “MS ion or MS product ion”

- Column C header: “MS/MS neutral loss”

- In column A, list your molecules/ metabolites by name (this is CASE SENSITIVE!, be sure that the names in this file match those in your measurement file!)

- Column  B contains the formula that IsoCorrectoR will use to correct your data. Lab denotes the tracer element, and the letter/number combo that follows denotes the maximum number of tracer element atoms that can be labeled. For MS1 LCMS data (no derivitization) this is fairly straightforward. For tracing with 13C into glucose, you would use C6H12O6LabC6. For tracing with 15N into glutamine, you would use C5H10N2O3LabN2. For a combination of 13C and 15N tracing into glutamine, you would use C5H10N2O3LabC5LabN2 (making sure that the order in which you specify the tracer element matches the order in which they appear in the formula).

- Note that if an element only appears once in the formula, it still needs to be assigned a number (i.e. Glutamate C5H9N1O4LabC5).

- Since we are correcting MS1 data from a high resolution instrument, the final column can be left blank.

Create an “Element File”:

This is a one-time table containing the elements, their stable isotopes, and their natural abundances. You can find this table (formatted exactly) in the full instructions

http://bioconductor.org/packages/devel/bioc/vignettes/IsoCorrectoR/inst/doc/IsoCorrectoR.html

Run IsoCorrectoRGUI:

Open R (not R studio!) and load the IsoCorrectoR GUI package: library(IsoCorrectoRGUI)

Next, start the GUI by typing IsoCorrectionGUI()  and follow the prompts to provide file paths to your measurement file, molecule file, element file, as well as to specify your output directory.

IMPORTANT: For correction of high resolution data (this is equal to using two tracers in one experiment) make sure that “High Resolution Mode” is checked. In addition, if you know your tracer purity and you have provided it as a fraction in the “element file” then check the “Correct Tracer Impurity” box.

Parameters that can be set in the graphical user interface:

- Measurement File: The file that contains the measured data to be corrected. Has to be provided

- Molecule File: The file that contains the information on the molecules for which data is to be corrected. Has to be provided

- Element File: The file that contains the element information required for correction. Has to be provided

- Output Directory: Defines the directory the corrected data and log-file should be written to. Has to be provided

- Name Outputfile: Defines the name of the file that contains the corrected data. The name of the file will be IsoCorrectoR_[Name Outputfile].[Format Outputfile]. If the format is csv, the name will also contain the type of corrected data in the respective file

- Format Outputfile: Defines the format of the files that contain the corrected data. Can either be ‘csv’ or ‘xls’. If ‘csv’ is choosen, multiple files will be produced, one for each type of corrected data (corrected data, fractions, mean enrichment…). If ‘xls’ is choosen, all correction results are provided in one excel file in different sheets

- Correct Tracer Impurity: If checked, correction for isotopic impurity of the tracer substrate is performed

- Corr. Tracer Element Core: If checked, the tracer element atoms in the core molecule (usually the part of the molecule that does not come from derivatization) are considered when correcting. Recommended to be checked

- Calculate Mean Enrichment: If checked, mean isotopic enrichment is calculated for each molecule

- High Resolution Mode: If checked, performs high resolution correction on the data. Should only be checked if you know that you have high resolution data

- Advanced Options: see section Input files and parameters